## فرم ارائه گزارش برق کنسانتره
فرم میزان مصرف برق تجهیزات
کد تجهیز | 120MI02 | 120MI03 | 120MI01 | 120MI01 | 135MI01 | 135MI01 | 120PU01 | 120PU05 | 120PU02 | 120PU06 | 910ST01 | 940SR01 | 150PU05 | 150PU06 | 150PU03 | 150PU04 | 150PU07 | 114RC01 | 910CV12 | 910CV12 | 120PU03 | 120PU04 | 940CV01 | 940CV01 | 940CV02 | 114CV04 | 121LP01 | 114CV02 | 150PU08 | 150PU09 | 120PU07 | 120PU08 | 120CV02 | 160CO01 | 160CO02 | 160CO03 | 121DB02 | 121DB03 | 136LP01 | 970DB06 | 120PU09 | 120PU10
تاریخ | Ball Mill MWH | Ball Mill MWH | HPGR Pre-Grinding MWH | HPGR Pre-Grinding HPGR Pre-Grinding - Auxiliary | HPGR | HPGR | Slurry Pump | Slurry Pump | Slurry Pump | Slurry Pump | Stacker KWH | Stacker/Reclaimer (Circular) Slewing angle=360˚ Stacker (NO luffing) Reclaimer Slewing range= 360˚ KWH | Process water pump | Process water pump | Slurry pump | Slurry pump | Process water pump KWH | Re-claimer | Belt Conveyor | Belt Conveyor | Slurry Pump | Slurry Pump | Belt conveyor | Belt conveyor KWH | Belt conveyor KWH | Belt Conveyor | Main Lighting Panel-N. Bus | Belt Conveyor kwh | Process water pump | Process water pump | Slurry Pump | Slurry Pump | Belt Conveyor | Air Screw Compressors | Air Screw Compressors | Air Screw Compressors | Wet Mill 1 - Auxiliary Panel | Wet Mill 2 - Auxiliary Panel | Main Lighting Panel | Main Workshop | Slurry Pump | Slurry Pump
2024/5/21 | 109 | 83 | 12 |  | 7 |  | 6 | 9 |  |  | 0.517 | 0.42 | 2 | 5 |  |  | 0.003 |  | 1.226 | 1.226 | 0 | 5 | 1 | 1226 | 1226 |  |  | 1
2024/5/22 | 108 | 84 | 13 |  | 0 |  | 7 | 9 |  |  | 0.467 | 0.455 | 5 | 5 |  |  | 0 |  | 0.961 | 0.959 | 0 | 5 | 0 | 961 | 959 |  |  | 1
2024/5/23 | 107 | 86 | 12 |  | 0 |  | 7 | 10 |  |  | 0.133 | 0.548 | 5 | 5 |  |  | 0 |  | 0.953 | 0.946 | 0 | 5 | 0 | 144 | 136 |  |  | 1
2024/5/24 | 108 | 89 | 12 |  | 0 |  | 6 | 9 |  |  | 0.004 | 0.19 | 5 | 5 |  |  | 0 |  | 0.249 | 0.246 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/5/25 | 102 | 84 | 13 |  | 0 |  | 6 | 8 |  |  | 0.005 | 0.452 | 5 | 5 |  |  | 0 |  | 1.067 | 1.065 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/5/26 | 66 | 56 | 8 |  | 0 |  | 4 | 6 |  |  | 0.287 | 0.509 | 4 | 3 |  |  | 0 |  | 1.104 | 1.106 | 0 | 3 | 0 | 367 | 357 |  |  | 1
2024/5/27 | 105 | 0 | 0 |  | 0 |  | 6 | 1 |  |  | 0.816 | 0.543 | 3 | 5 |  |  | 0 |  | 1.16 | 1.163 | 0 | 4 | 0 | 821 | 788 |  |  | 0
2024/5/28 | 110 | 0 | 0 |  | 0 |  | 5 | 2 |  |  | 0.773 | 0.279 | 5 | 5 |  |  | 0 |  | 0.863 | 0.862 | 0 | 5 | 0 | 737 | 716 |  |  | 0
2024/5/29 | 111 | 0 | 0 |  | 0 |  | 6 | 1 |  |  | 0.78 | 0.604 | 5 | 5 |  |  | 0 |  | 1.133 | 1.134 | 0 | 5 | 0 | 668 | 652 |  |  | 0
2024/5/30 | 71 | 17 | 2 |  | 0 |  | 4 | 2 |  |  | 0.003 | 0.373 | 3 | 4 |  |  | 0 |  | 1.107 | 1.106 | 0 | 3 | 0 | 832 | 823 |  |  | 0
2024/5/31 | 113 | 89 | 12 |  | 0 |  | 5 | 8 |  |  | 0.039 | 0.681 | 5 | 5 |  |  | 0 |  | 1.186 | 1.186 | 0 | 5 | 2 | 727 | 792 |  |  | 1
2024/6/1 | 113 | 89 | 14 |  | 0 |  | 7 | 9 |  |  | 0.084 | 0.562 | 5 | 5 |  |  | 0 |  | 1.382 | 1.382 | 0 | 5 | 2 | 809 | 798 |  |  | 1
2024/6/2 | 113 | 91 | 13 |  | 0 |  | 6 | 8 |  |  | 0.092 | 0.757 | 5 | 5 |  |  | 0 |  | 1.596 | 1.597 | 0 | 5 | 9 | 759 | 796 |  |  | 1
2024/6/3 | 97 | 78 | 9 |  | 0 |  | 5 | 7 |  |  | 0.077 | 0.828 | 3 | 4 |  |  | 0.001 |  | 1.433 | 1.431 | 0 | 4 | 9 | 532 | 535 |  |  | 1
2024/6/4 | 112 | 93 | 11 |  | 0 |  | 7 | 9 |  |  | 0.109 | 0.538 | 0 | 5 |  |  | 0.005 |  | 1.567 | 1.566 | 0 | 5 | 9 | 819 | 816 |  |  | 1
2024/6/5 | 100 | 84 | 9 |  | 0 |  | 5 | 7 |  |  | 0.109 | 0.765 | 0 | 4 |  |  | 0.004 |  | 1.427 | 1.426 | 0 | 4 | 2 | 662 | 658 |  |  | 1
2024/6/6 | 113 | 96 | 10 |  | 0 |  | 6 | 8 |  |  | 0.801 | 0.818 | 0 | 5 |  |  | 0.005 |  | 1.486 | 1.482 | 0 | 5 | 9 | 829 | 802 |  |  | 1
2024/6/7 | 105 | 90 | 9 |  | 0 |  | 6 | 8 |  |  | 0.946 | 0.779 | 0 | 5 |  |  | 0.004 |  | 1.333 | 1.331 | 0 | 5 | 2 | 772 | 797 |  |  | 1
2024/6/8 | 113 | 96 | 9 |  | 0 |  | 7 | 9 |  |  | 0.776 | 0.407 | 0 | 5 |  |  | 0.005 |  | 0.98 | 0.981 | 0 | 5 | 2 | 787 | 775 |  |  | 1
2024/6/9 | 113 | 100 | 10 |  | 0 |  | 6 | 8 |  |  | 0.108 | 0.709 | 0 | 5 |  |  | 0.005 |  | 0.987 | 0.987 | 0 | 5 | 9 | 796 | 751 |  |  | 1
2024/6/10 | 105 | 94 | 10 |  | 0 |  | 6 | 8 |  |  | 0.105 | 0.49 | 0 | 5 |  |  | 0.004 |  | 0.923 | 0.923 | 0 | 4 | 2 | 727 | 739 |  |  | 1
2024/6/11 | 113 | 101 | 11 |  | 0 |  | 5 | 8 |  |  | 0.115 | 0.052 | 0 | 5 |  |  | 0.005 |  | 0 | 0.301 | 0 | 5 | 8 | 660 | 665 |  |  | 1
2024/6/12 | 113 | 101 | 12 |  | 0 |  | 6 | 8 |  |  | 0.124 | 0.232 | 0 | 5 |  |  | 0.005 |  | 0.321 | 0.321 | 0 | 5 | 8 | 750 | 760 |  |  | 1
2024/6/13 | 80 | 72 | 8 |  | 0 |  | 4 | 6 |  |  | 0.103 | 0.069 | 0 | 4 |  |  | 0.003 |  | 0 | 0 | 0 | 4 | 9 | 930 | 939 |  |  | 1
2024/6/14 | 111 | 99 | 12 |  | 0 |  | 5 | 9 |  |  | 0.112 | 0.166 | 0 | 5 |  |  | 0.005 |  | 0.162 | 0.162 | 0 | 5 | 2 | 200 | 200 |  |  | 1
2024/6/15 | 112 | 99 | 12 |  | 0 |  | 6 | 9 |  |  | 0.135 | 0.412 | 0 | 5 |  |  | 0.005 |  | 0.841 | 0.843 | 0 | 5 | 8 | 766 | 759 |  |  | 1
2024/6/16 | 111 | 99 | 12 |  | 0 |  | 6 | 8 |  |  | 0.084 | 0.518 | 0 | 5 |  |  | 0.005 |  | 0.983 | 0.905 | 0 | 5 | 9 | 672 | 666 |  |  | 1
2024/6/17 | 82 | 74 | 7 |  | 0 |  | 4 | 7 |  |  | 0.11 | 0.32 | 0 | 4 |  |  | 0.004 |  | 0.845 | 0.847 | 0 | 4 | 8 | 759 | 769 |  |  | 1
2024/6/18 | 36 | 32 | 3 |  | 0 |  | 2 | 3 |  |  | 0.048 | 0.354 | 0 | 2 |  |  | 0.002 |  | 0.808 | 0.807 | 0 | 2 | 2 | 688 | 679 |  |  | 1
2024/6/19 | 112 | 99 | 10 |  | 0 |  | 6 | 8 |  |  | 0.133 | 0.387 | 0 | 5 |  |  | 0.005 |  | 0.656 | 0.653 | 0 | 5 | 8 | 560 | 355 |  |  | 1
2024/6/20 | 112 | 99 | 11 |  | 0 |  | 5 | 9 |  |  | 0.109 | 0.392 | 0 | 5 |  |  | 0.005 |  | 0.732 | 0.728 | 0 | 5 | 9 | 527 | 518 |  |  | 1
2024/6/21 | 107 | 96 | 11 |  | 0 |  | 6 | 9 |  |  | 94 | 404 | 0 | 6 |  |  | 5 |  | 779 | 779 | 0 | 5 | 8 | 276 | 277 |  |  | 1
2024/6/22 | 107 | 97 | 12 |  | 0 |  | 6 | 9 |  |  | 126 | 370 | 0 | 6 |  |  | 5 |  | 760 | 759 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/23 | 107 | 97 | 11 |  | 0 |  | 5 | 9 |  |  | 40 | 592 | 0 | 6 |  |  | 5 |  | 900 | 898 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/24 | 109 | 96 | 11 |  | 0 |  | 7 | 9 |  |  | 3 | 154 | 0 | 6 |  |  | 5 |  | 223 | 221 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/25 | 110 | 97 | 11 |  | 0 |  | 5 | 9 |  |  | 1 | 191 | 0 | 6 |  |  | 5 |  | 297 | 298 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/26 | 108 | 97 | 4 |  | 0 |  | 6 | 8 |  |  | 2 | 0 | 0 | 6 |  |  | 5 |  | 0 | 0 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/27 | 106 | 96 | 11 |  | 0 |  | 5 | 8 |  |  | 2 | 447 | 0 | 6 |  |  | 5 |  | 879 | 877 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/28 | 110 | 97 | 10 |  | 0 |  | 6 | 8 |  |  | 2 | 447 | 0 | 6 |  |  | 5 |  | 879 | 877 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/29 | 106 | 98 | 9 |  | 0 |  | 6 | 8 |  |  | 10 | 981 | 0 | 6 |  |  | 5 |  | 2330 | 2321 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/6/30 | 36 | 99 | 4 |  | 0 |  | 5 | 3 |  |  | 1 | 662 | 0 | 6 |  |  | 5 |  | 1356 | 1354 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/1 | 107 | 96 | 11 |  | 0 |  | 2 | 7 |  |  | 1 | 544 | 0 | 6 |  |  | 2 |  | 1009 | 1008 | 0 | 2 | 0 | 0 | 0 |  |  | 1
2024/7/2 | 108 | 97 | 11 |  | 0 |  | 6 | 8 |  |  | 1 | 363 | 0 | 6 |  |  | 4 |  | 892 | 892 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/3 | 107 | 98 | 11 |  | 0 |  | 5 | 8 |  |  | 5 | 436 | 0 | 6 |  |  | 5 |  | 1040 | 1034 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/4 | 109 | 99 | 8.5 |  | 0 |  | 6 | 6 |  |  | 1 | 477 | 0 | 6 |  |  | 5 |  | 1125 | 1118 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/5 | 104 | 96 | 10 |  | 0 |  | 4 | 8 |  |  | 8 | 519 | 0 | 6 |  |  | 4 |  | 1148 | 1141 | 0 | 4 | 0 | 0 | 0 |  |  | 1
2024/7/6 | 103 | 96 | 10 |  | 0 |  | 5 | 8 |  |  | 1 | 309 | 0 | 6 |  |  | 5 |  | 958 | 257 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/7 | 92 | 96 | 4 |  | 0 |  | 6 | 8 |  |  | 53 | 610 | 0 | 6 |  |  | 5 |  | 1298 | 1299 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/8 | 35 | 97 | 4 |  | 0 |  | 5 | 8 |  |  | 92 | 560 | 0 | 6 |  |  | 5 |  | 990 | 987 | 0 | 5 | 8 | 0 | 0 |  |  | 1
2024/7/9 | 30 | 96 | 7 |  | 0 |  | 6 | 7 |  |  | 63 | 125 | 0 | 6 |  |  | 5 |  | 158 | 158 | 0 | 5 | 8 | 0 | 0 |  |  | 1
2024/7/10 | 0 | 0 | 4 |  | 0 |  | 5 | 3 |  |  | 104 | 530 | 0 | 6 |  |  | 4 |  | 860 | 857 | 0 | 4 | 8 | 0 | 0 |  |  | 1
2024/7/11 | 0 | 0 | 0 |  | 0 |  | 2 | 2 |  |  | 45 | 416 | 0 | 6 |  |  | 2 |  | 1035 | 1034 | 0 | 2 | 8 | 0 | 0 |  |  | 1
2024/7/12 | 105 | 96 | 11 |  | 0 |  | 1 | 0 |  |  | 2 | 434 | 0 | 6 |  |  | 1 |  | 1296 | 1297 | 0 | 2 | 0 | 0 | 0 |  |  | 1
2024/7/13 | 107 | 96 | 11 |  | 0 |  | 0 | 0 |  |  | 0 | 447 | 0 | 6 |  |  | 0 |  | 929 | 931 | 0 | 0 | 0 | 0 | 0 |  |  | 1
2024/7/14 | 106 | 96 | 10 |  | 0 |  | 0 | 9 |  |  | 1 | 488 | 0 | 6 |  |  | 0 |  | 1113 | 1115 | 0 | 0 | 0 | 0 | 0 |  |  | 0
2024/7/15 | 105 | 97 | 11 |  | 0 |  | 6 | 8 |  |  | 2 | 561 | 0 | 6 |  |  | 4 |  | 1196 | 1195 | 0 | 5 | 0 | 0 | 0 |  |  | 0
2024/7/16 | 106 | 95 | 11 |  | 0 |  | 6 | 9 |  |  | 2 | 648 | 0 | 6 |  |  | 5 |  | 1115 | 1112 | 0 | 5 | 0 | 0 | 0 |  |  | 0
2024/7/17 | 104 | 97 | 10 |  | 0 |  | 6 | 9 |  |  | 8 | 260 | 0 | 6 |  |  | 5 |  | 556 | 555 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/18 | 107 | 96 | 11 |  | 0 |  | 6 | 9 |  |  | 56 | 484 | 0 | 6 |  |  | 4 |  | 798 | 795 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/19 | 110 | 97 | 10 |  | 2 |  | 7 | 9 |  |  | 84 | 301 | 0 | 6 |  |  | 4 |  | 425 | 428 | 0 | 5 | 8 | 0 | 0 |  |  | 0
2024/7/20 | 111 | 97 | 11 |  | 7 |  | 6 | 8 |  |  | 77 | 333 | 0 | 6 |  |  | 4 |  | 1093 | 1089 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/21 | 106 | 96 | 11 |  | 8 |  | 6 | 9 |  |  | 85 | 484 | 0 | 6 |  |  | 4 |  | 1256 | 1255 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/22 | 103 | 96 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 285 | 0 | 6 |  |  | 4 |  | 698 | 967 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/23 | 105 | 94 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 559 | 0 | 6 |  |  | 4 |  | 1021 | 1024 | 2 | 3 | 0 | 0 | 0 |  |  | 1
2024/7/24 | 61 | 50 | 2 |  | 0 |  | 5 | 5 |  |  | 0 | 582 | 0 | 6 |  |  | 5 |  | 1126 | 1123 | 6 | 0 | 0 | 0 | 0 |  |  | 1
2024/7/25 | 104 | 93 | 5 |  | 0 |  | 4 | 9 |  |  | 0 | 354 | 0 | 6 |  |  | 3 |  | 1050 | 1050 | 1 | 1 | 0 | 0 | 0 |  |  | 1
2024/7/26 | 104 | 94 | 5 |  | 0 |  | 5 | 9 |  |  | 4 | 668 | 0 | 6 |  |  | 4 |  | 1172 | 1172 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/27 | 103 | 94 | 6 |  | 0 |  | 6 | 9 |  |  | 0 | 397 | 0 | 6 |  |  | 4 |  | 1228 | 1234 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/28 | 104 | 94 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 547 | 0 | 6 |  |  | 4 |  | 1128 | 1131 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/29 | 104 | 93 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 457 | 0 | 6 |  |  | 4 |  | 1012 | 1009 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/30 | 103 | 92 | 6 |  | 0 |  | 6 | 9 |  |  | 31 | 445 | 0 | 6 |  |  | 4 |  | 984 | 985 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/7/31 | 109 | 93 | 5 |  | 0 |  | 6 | 10 |  |  | 0 | 460 | 0 | 6 |  |  | 3 |  | 1025 | 1026 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/1 | 109 | 93 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 240 | 2 | 6 |  |  | 2 |  | 344 | 341 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/2 | 109 | 93 | 5 |  | 0 |  | 7 | 9 |  |  | 1 | 492 | 3 | 6 |  |  | 2 |  | 981 | 893 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/3 | 103 | 93 | 5.5 |  | 0 |  | 6 | 10 |  |  | 0 | 524 | 4 | 6 |  |  | 3 |  | 1209 | 1206 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/4 | 103 | 93 | 6 |  | 0 |  | 6 | 9 |  |  | 1 | 549 | 5 | 6 |  |  | 5 |  | 913 | 914 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/5 | 103 | 93 | 5 |  | 0 |  | 6 | 9 |  |  | 1 | 124 | 5 | 6 |  |  | 5 |  | 138 | 138 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/6 | 103 | 93 | 5 |  | 0 |  | 6 | 3 |  |  | 1 | 6 | 5 | 6 |  |  | 5 |  | 0 | 0 | 0 | 5 | 0 | 0 | 0 |  |  | 0
2024/8/7 | 109 | 99 | 3 |  | 0 |  | 2 | 9 |  |  | 0 | 4 | 5 | 6 |  |  | 5 |  | 0 | 0 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/8 | 31 | 21 | 5 |  | 0 |  | 6 | 8 |  |  | 8 | 335 | 1 | 6 |  |  | 2 |  | 891 | 896 | 0 | 2 | 0 | 0 | 0 |  |  | 1
2024/8/9 | 109 | 95 | 4.8 |  | 0 |  | 5 | 9 |  |  | 2 | 498 | 5 | 6 |  |  | 5 |  | 1104 | 1105 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/10 | 109 | 95 | 5 |  | 0 |  | 6 | 10 |  |  | 17 | 411 | 4 | 6 |  |  | 4 |  | 1202 | 1201 | 0 | 4 | 0 | 0 | 0 |  |  | 1
2024/8/11 | 103 | 96 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 441 | 5 | 6 |  |  | 5 |  | 961 | 959 | 0 | 6 | 0 | 0 | 0 |  |  | 1
2024/8/12 | 103 | 93 | 5 |  | 0 |  | 6 | 9 |  |  | 0 | 413 | 5 | 6 |  |  | 5 |  | 871 | 862 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/13 | 103 | 93 | 5 |  | 0 |  | 5 | 4 |  |  | 114 | 539 | 5 | 0 |  |  | 5 |  | 866 | 866 | 0 | 5 | 0 | 150 | 197 |  |  | 1
2024/8/14 | 99 | 99 | 4 |  | 0 |  | 3 | 10 |  |  | 104 | 448 | 4 | 0 |  |  | 4 |  | 905 | 904 | 0 | 5 | 0 | 87 | 85 |  |  | 0
2024/8/15 | 109 | 99 | 3 |  | 0 |  | 6 | 10 |  |  | 509 | 613 | 2 | 6 |  |  | 3 |  | 1153 | 1153 | 0 | 2 | 0 | 579 | 568 |  |  | 1
2024/8/16 | 109 | 99 | 5 |  | 0 |  | 6 | 8 |  |  | 167 | 367 | 5 | 6 |  |  | 5 |  | 735 | 734 | 0 | 5 | 0 | 985 | 183 |  |  | 1
2024/8/17 | 102 | 93 | 5 |  | 0 |  | 6 | 7 |  |  | 1 | 507 | 5 | 6 |  |  | 5 |  | 1164 | 1162 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/18 | 37 | 25 | 5 |  | 0 |  | 6 | 8 |  |  | 1 | 433 | 4 | 6 |  |  | 5 |  | 905 | 906 | 0 | 5 | 0 | 0 | 0 |  |  | 1
2024/8/19 | 37 | 23 | 5 |  | 0 |  | 4 | 8 |  |  | 112 | 391 | 5 | 6 |  |  | 5 |  | 637 | 633 | 0 | 5 | 0 | 79 | 77 |  |  | 1
2024/8/20 | 37 | 25 | 3 |  | 0 |  | 3 | 3 |  |  | 511 | 683 | 3 | 6 |  |  | 3 |  | 1248 | 1250 | 0 | 3 | 0 | 911 | 396 |  |  | 1
2024/8/21 | 37 | 23 | 3.5 |  | 0 |  | 3 | 8 |  |  | 961 | 596 | 2 | 6 |  |  | 2 |  | 1018 | 1019 | 0 | 6 | 0 | 768 | 775 |  |  | 1
2024/8/22 | 105 | 88 | 5 | 5 | 5 |  | 6 | 8 |  |  | 676 | 459 | 2 | 5 |  |  | 2 |  | 1193 | 1196 | 0 | 2 | 8 | 680 | 670 |  |  | 1
2024/8/23 | 105 | 88 | 5 | 5 | 10 |  | 6 | 9 |  |  | 981 | 604 | 5 | 6 |  |  | 5 |  | 1196 | 1199 | 0 | 5 | 2 | 820 | 890 |  |  | 1
2024/8/24 | 105 | 88 | 5 | 5 | 10 |  | 7 | 7 |  |  | 1200 | 503 | 5 | 6 |  |  | 5 |  | 760 | 764 | 0 | 5 | 2 | 791 | 739 |  |  | 1
2024/8/25 | 105 | 88 | 0 | 0 | 11 |  | 6 | 3 |  |  | 787 | 447 | 5 | 6 |  |  | 5 |  | 927 | 927 | 0 | 5 | 2 | 770 | 767 |  |  | 1
2024/8/26 | 32 | 30 | 2 | 2 | 0 |  | 2 | 3 |  |  | 812 | 350 | 5 | 6 |  |  | 5 |  | 904 | 908 | 0 | 5 | 8 | 723 | 711 |  |  | 1
2024/8/27 | 32 | 30 | 5 | 5 | 3 |  | 2 | 8 |  |  | 536 | 414 | 2 | 6 |  |  | 2 |  | 1049 | 1046 | 0 | 2 | 0 | 693 | 682 |  |  | 1
2024/8/28 | 105 | 89 | 5 | 5 | 7 |  | 7 | 7 |  |  | 717 | 491 | 2 | 6 |  |  | 2 |  | 991 | 994 | 0 | 2 | 8 | 781 | 772 |  |  | 1
2024/8/29 | 105 | 89 | 5 | 5 | 7 |  | 6 | 8 |  |  | 374 | 194 | 5 | 6 |  |  | 4 |  | 325 | 322 | 0 | 5 | 2 | 799 | 731 |  |  | 0
2024/8/30 | 105 | 89 | 5 | 5 | 7 |  | 6 | 7 |  |  | 479 | 749 | 5 | 5 |  |  | 4 |  | 1142 | 1138 | 0 | 5 | 2 | 806 | 789 |  |  | 1
2024/8/31 | 105 | 89 | 5 | 5 | 3 |  | 6 | 7 |  |  | 529 | 564 | 5 | 9 |  |  | 4 |  | 1189 | 1188 | 0 | 5 | 2 | 829 | 806 |  |  | 1
2024/9/1 | 105 | 88 | 3 | 3 | 0 |  | 7 | 8 |  |  | 550 | 621 | 5 | 0 |  |  | 4 |  | 1062 | 1063 | 0 | 5 | 2 | 779 | 769 |  |  | 1
2024/9/2 | 105 | 88 | 5 | 5 | 9 |  | 6 | 7 |  |  | 509 | 426 | 5 | 0 |  |  | 4 |  | 992 | 994 | 0 | 5 | 8 | 811 | 799 |  |  | 1
2024/9/3 | 105 | 88 | 5 | 5 | 3 |  | 6 | 8 |  |  | 440 | 401 | 2 | 0 |  |  | 4 |  | 802 | 800 | 0 | 5 | 0 | 752 | 798 |  |  | 1
2024/9/4 | 105 | 89 | 5 | 5 | 2 |  | 6 | 5 |  |  | 373 | 544 | 0 | 0 |  |  | 4 |  | 942 | 940 | 0 | 5 | 0 | 773 | 759 |  |  | 1
2024/9/5 | 102 | 87 | 5 | 5 | 5 |  | 5 | 8 |  |  | 585 | 613 | 0 | 0 |  |  | 4 |  | 1018 | 1016 | 0 | 5 | 0 | 795 | 728 |  |  | 1
2024/9/6 | 105 | 88 | 2.5 | 2.5 | 0 |  | 6 | 7 |  |  | 815 | 562 | 4 | 0 |  |  | 0 |  | 1030 | 1028 | 0 | 4 | 0 | 783 | 768 |  |  | 1
2024/9/7 | 105 | 88 | 5 | 5 | 2 |  | 5 | 6 |  |  | 539 | 536 | 5 | 0 |  |  | 0 |  | 1047 | 1047 | 0 | 5 | 9 | 769 | 755 |  |  | 1
2024/9/8 | 105 | 88 | 5 | 5 | 5.5 |  | 6 | 7 |  |  | 379 | 484 | 5 | 0 |  |  | 5 |  | 1137 | 1140 | 0 | 4 | 2 | 819 | 801 |  |  | 1
2024/9/9 | 39 | 33 | 5 | 5 | 2 |  | 6 | 7 |  |  | 450 | 495 | 5 | 0 |  |  | 5 |  | 928 | 929 | 0 | 5 | 8 | 793 | 723 |  |  | 1
2024/9/10 | 105 | 88 | 3 | 3 | 0 |  | 7 | 3 |  |  | 607 | 635 | 5 | 0 |  |  | 5 |  | 1181 | 1179 | 0 | 5 | 8 | 819 | 795 |  |  | 1
2024/9/11 | 105 | 88 | 5 | 5 | 0 |  | 5 | 7 |  |  | 429 | 371 | 5 | 0 |  |  | 5 |  | 807 | 807 | 1 | 4 | 0 | 792 | 729 |  |  | 1
2024/9/12 | 105 | 88 | 5 | 5 | 2 |  | 3 | 8 |  |  | 466 | 359 | 2 | 0 |  |  | 2 |  | 963 | 964 | 2 | 0 | 0 | 790 | 777 |  |  | 1
2024/9/13 | 105 | 87 | 5 | 5 | 9 |  | 6 | 7 |  |  | 452 | 482 | 5 | 0 |  |  | 5 |  | 882 | 883 | 5 | 0 | 0 | 809 | 799 |  |  | 1
2024/9/14 | 105 | 87 | 5 | 5 | 3 |  | 6 | 7 |  |  | 400 | 491 | 5 | 0 |  |  | 5 |  | 856 | 859 | 6 | 0 | 8 | 818 | 800 |  |  | 0
2024/9/15 | 105 | 87 | 5 | 5 | 0 |  | 6 | 8 |  |  | 508 | 518 | 5 | 0 |  |  | 5 |  | 1091 | 1090 | 5 | 0 | 2 | 811 | 792 |  |  | 1
2024/9/16 | 105 | 87 | 5 | 5 | 2 |  | 7 | 7 |  |  | 524 | 428 | 5 | 0 |  |  | 5 |  | 840 | 842 | 5 | 0 | 0 | 801 | 783 |  |  | 1
2024/9/17 | 105 | 86 | 3 | 3 | 0 |  | 6 | 7 |  |  | 567 | 8 | 5 | 0 |  |  | 4 |  | 0 | 0 | 5 | 0 | 0 | 796 | 777 |  |  | 1
2024/9/18 | 105 | 87 | 0 | 0 | 0 |  | 6 | 6 |  |  | 509 | 24 | 5 | 0 |  |  | 5 |  | 19 | 19 | 6 | 0 | 0 | 809 | 793 |  |  | 1
2024/9/19 | 105 | 87 | 3 | 3 | 0 |  | 6 | 8 |  |  | 394 | 427 | 5 | 0 |  |  | 5 |  | 664 | 662 | 5 | 0 | 8 | 703 | 680 |  |  | 1
2024/9/20 | 105 | 86 | 2 | 2 | 0 |  | 5 | 7 |  |  | 438 | 639 | 5 | 0 |  |  | 5 |  | 1095 | 1099 | 5 | 0 | 8 | 830 | 802 |  |  | 1
2024/9/21 | 105 | 89 | 5 | 5 | 0 |  | 7 | 8 |  |  | 394 | 314 | 5 | 0 |  |  | 5 |  | 905 | 903 | 6 | 0 | 2 | 817 | 799 |  |  | 0
2024/9/22 | 105 | 88 | 10 |  |  |  | 6 | 7 |  |  | 567 | 588 | 5 | 0 |  |  | 5 |  | 1209 | 1210 | 6 | 0 | 2 | 760 | 739 |  |  | 1
2024/9/23 | 105 | 88 | 10 |  |  |  | 6 | 8 |  |  | 196 | 627 | 5 | 0 |  |  | 5 |  | 1085 | 1089 | 6 | 0 | 0 | 221 | 215 |  |  | 1
2024/9/24 | 105 | 88 | 10 |  |  |  | 6 | 7 |  |  | 8 | 656 | 5 | 0 |  |  | 5 |  | 1208 | 1208 | 5 | 0 | 0 | 2 | 2 |  |  | 1
2024/9/25 | 105 | 88 | 10 |  |  |  | 6 | 8 |  |  | 516 | 524 | 5 | 0 |  |  | 5 |  | 893 | 893 | 5 | 0 | 0 | 538 | 530 |  |  | 1
2024/9/26 | 106 | 88 | 11 |  |  |  | 7 | 7 |  |  | 437 | 516 | 5 | 0 |  |  | 5 |  | 1001 | 1005 | 5 | 0 | 0 | 757 | 799 |  |  | 1
2024/9/27 | 105 | 88 | 9 |  |  |  | 6 | 8 |  |  | 411 | 446 | 5 | 0 |  |  | 5 |  | 919 | 922 | 6 | 0 | 0 | 817 | 800 |  |  | 1
2024/9/28 | 103 | 88 | 10 |  |  |  | 6 | 7 |  |  | 354 | 528 | 5 | 0 |  |  | 5 |  | 1018 | 1019 | 6 | 0 | 1 | 822 | 709 |  |  | 1
2024/9/29 | 39 | 30 | 3 |  |  |  | 5 | 6 |  |  | 390 | 269 | 5 | 0 |  |  | 4 |  | 549 | 549 | 4 | 0 | 2 | 689 | 662 |  |  | 1
2024/9/30 | 103 | 87 | 10 |  |  |  | 6 | 7 |  |  | 206 | 565 | 4 | 0 |  |  | 5 |  | 1028 | 1028 | 5 | 0 | 0 | 787 | 758 |  |  | 1
2024/10/1 | 105 | 88 | 9 |  |  |  | 3 | 3 |  |  | 254 | 356 | 5 | 0 |  |  | 2 |  | 934 | 932 | 2 | 0 | 0 | 739 | 720 |  |  | 1
2024/10/2 | 105 | 88 | 10 |  |  |  | 6 | 8 |  |  | 517 | 521 | 2 | 0 |  |  | 5 |  | 956 | 955 | 0 | 5 | 0 | 766 | 796 |  |  | 0
2024/10/3 | 105 | 88 | 10 |  |  |  | 6 | 8 |  |  | 229 | 426 | 5 | 3 |  |  | 5 |  | 848 | 843 | 0 | 5 | 1 | 789 | 789 |  |  | 1
2024/10/4 | 105 | 88 | 10 |  |  |  | 6 | 7 |  |  | 528 | 456 | 5 | 6 |  |  | 5 |  | 810 | 813 | 0 | 5 | 1 | 806 | 792 |  |  | 1
2024/10/5 | 105 | 88 | 10 |  |  |  | 7 | 8 |  |  | 505 | 561 | 5 | 6 |  |  | 5 |  | 951 | 748 | 0 | 5 | 0 | 811 | 799 |  |  | 1
2024/10/6 | 105 | 87 | 10 |  |  |  | 6 | 7 |  |  | 579 | 355 | 5 | 3 |  |  | 4 |  | 1048 | 1044 | 0 | 5 | 0 | 820 | 796 |  |  | 1
2024/10/7 | 109 | 87 | 10 |  |  |  | 7 | 8 |  |  | 275 | 469 | 5 | 6 |  |  | 5 |  | 931 | 935 | 0 | 5 | 0 | 800 | 797 |  |  | 1
2024/10/8 | 38 | 36 | 10 |  |  |  | 7 | 8 |  |  | 66 | 371 | 5 | 0 |  |  | 5 |  | 1006 | 1005 | 0 | 5 | 2 | 899 | 827 |  |  | 1
2024/10/9 | 105 | 88 | 10 |  |  |  | 6 | 7 |  |  | 290 | 466 | 4 | 0 |  |  | 5 |  | 903 | 900 | 0 | 5 | 0 | 771 | 758 |  |  | 1
2024/10/10 | 109 | 87 | 3 |  |  |  | 4 | 4 |  |  | 136 | 303 | 5 | 0 |  |  | 3 |  | 502 | 502 | 0 | 2 | 1 | 916 | 209 |  |  | 1
2024/10/11 | 105 | 88 | 10 |  |  |  | 7 | 8 |  |  | 76 | 582 |  | 0 |  |  | 5 |  | 870 | 871 | 0 | 5 | 2 | 0 | 0 |  |  | 1
2024/10/12 | 105 | 88 | 10 |  |  |  | 7 | 8 |  |  | 0 | 568 | 3 | 0 |  |  | 5 |  | 971 | 969 | 0 | 5 | 2 | 0 | 0 |  |  | 1
2024/10/13 | 105 | 88 | 10 |  |  |  | 6 | 8 |  |  | 227 | 298 | 5 | 0 |  |  | 5 |  | 496 | 493 | 0 | 5 | 2 | 750 | 739 |  |  | 1
2024/10/14 | 105 | 88 | 9 |  |  |  | 6 | 6 |  |  | 493 | 282 | 5 | 0 |  |  | 4 |  | 725 | 725 | 0 | 4 | 1 | 786 | 769 |  |  | 1
2024/10/15 | 105 | 88 | 10 |  |  |  | 7 | 8 |  |  | 794 | 483 | 5 | 0 |  |  | 5 |  | 912 | 911 | 0 | 5 | 0 | 782 | 752 |  |  | 1
2024/10/16 | 109 | 87 | 10 |  |  |  | 7 | 8 |  |  | 619 | 667 | 4 | 0 |  |  | 5 |  | 1124 | 1122 | 0 | 5 | 0 | 769 | 799 |  |  | 1
2024/10/17 | 105 | 87 | 10 |  |  |  | 6 | 8 |  |  | 566 | 257 | 5 | 0 |  |  | 5 |  | 931 | 928 | 0 | 5 | 2 | 752 | 721 |  |  | 1
2024/10/18 | 105 | 87 | 0 |  |  |  | 6 | 7 |  |  | 519 | 295 | 5 | 0 |  |  | 5 |  | 827 | 825 | 0 | 5 | 1 | 780 | 759 |  |  | 1
2024/10/19 | 105 | 87 | 3 |  |  |  | 7 | 8 |  |  | 343 | 531 | 5 | 0 |  |  | 5 |  | 965 | 969 | 0 | 5 | 1 | 759 | 739 |  |  | 1
2024/10/20 | 105 | 88 | 10 |  |  |  | 6 | 7 |  |  | 0 | 486 | 5 | 0 |  |  | 5 |  | 901 | 898 | 0 | 5 | 2 | 710 | 709 |  |  | 1
2024/10/21 | 109 | 88 | 0 |  |  |  | 7 | 8 |  |  | 0 | 584 | 5 | 0 |  |  | 5 |  | 925 | 929 | 0 | 5 | 1 | 780 | 770 |  |  | 0
2024/10/22 | 30 | 28 | 3 |  |  |  | 7 | 8 |  |  | 119 | 481 | 5 |  |  |  | 5 |  | 956 | 955 |  | 5 | 0 | 789 | 773 |  |  | 1
2024/10/23 | 96 | 85 | 9 |  |  |  | 2 | 3 |  |  | 0 | 373 | 2 |  |  |  | 2 |  | 848 | 847 |  | 2 | 0 | 818 | 803 |  |  | 0
2024/10/24 | 96 | 85 | 9 |  |  |  | 5 | 7 |  |  | 0 | 477 | 5 |  |  |  | 5 |  | 979 | 978 |  | 4 | 0 | 788 | 796 |  |  | 1
2024/10/25 | 96 | 85 | 9 |  |  |  | 6 | 8 |  |  | 0 | 691 | 5 |  |  |  | 5 |  | 1043 | 1044 |  | 5 | 0 | 782 | 792 |  |  | 1
2024/10/26 | 96 | 85 | 9 |  |  |  | 5 | 8 |  |  | 0 | 489 | 5 |  |  |  | 5 |  | 911 | 911 |  | 4 | 0 | 730 | 697 |  |  | 1
2024/10/27 | 96 | 85 | 9 |  |  |  | 5 | 7 |  |  | 1 | 214 | 5 |  |  |  | 5 |  | 360 | 360 |  | 4 | 0 | 787 | 752 |  |  | 1
2024/10/28 | 68 | 81 | 3 |  |  |  | 6 | 8 |  |  | 1 | 484 | 5 |  |  |  | 5 |  | 1343 | 1344 |  | 5 | 0 | 799 | 719 |  |  | 1
2024/10/29 | 81 | 76 | 8 |  |  |  | 4 | 6 |  |  | 0 | 562 | 4 |  |  |  | 3 |  | 1287 | 1285 |  | 3 | 0 | 756 | 713 |  |  | 1
2024/10/30 | 90 | 86 | 9 |  |  |  | 6 | 8 |  |  | 4 | 227 | 5 |  |  |  | 5 |  | 348 | 346 |  | 5 | 0 | 679 | 635 |  |  | 1
2024/10/31 | 96 | 81 | 9 |  |  |  | 6 | 8 |  |  | 9 | 422 | 5 |  |  |  | 5 |  | 1173 | 1174 |  | 5 | 0 | 795 | 718 |  |  | 1
2024/11/1 | 90 | 88 | 9 |  |  |  | 6 | 8 |  |  | 9 | 521 | 5 |  |  |  | 5 |  | 1017 | 1015 |  | 5 | 0 | 693 | 671 |  |  | 1
2024/11/2 | 96 | 88 | 9 |  |  |  | 6 | 8 |  |  | 2 | 505 | 5 |  |  |  | 5 |  | 956 | 954 |  | 5 | 0 | 717 | 700 |  |  | 1
2024/11/3 | 92 | 89 | 9 |  |  |  | 6 | 8 |  |  | 70 | 698 | 5 |  |  |  | 5 |  | 1218 | 1213 |  | 5 | 0 | 739 | 726 |  |  | 1
2024/11/4 | 90 | 88 | 8 |  |  |  | 6 | 8 |  |  | 97 | 611 | 5 |  |  |  | 5 |  | 959 | 958 |  | 5 | 0 | 706 | 699 |  |  | 1
2024/11/5 | 90 | 89 | 8 |  |  |  | 4 | 7 |  |  | 82 | 335 | 4 |  |  |  | 4 |  | 870 | 868 |  | 4 | 0 | 700 | 690 |  |  | 1
2024/11/6 | 96 | 89 | 9 |  |  |  | 6 | 8 |  |  | 93 | 214 | 5 |  |  |  | 5 |  | 837 | 840 |  | 5 | 1 | 717 | 710 |  |  | 1
2024/11/7 | 96 | 89 | 9 |  |  |  | 6 | 7 |  |  | 85 | 581 | 5 |  |  |  | 5 |  | 1003 | 1005 |  | 5 | 0 | 723 | 705 |  |  | 1
2024/11/8 | 96 | 89 | 9 |  |  |  | 5 | 8 |  |  | 84 | 375 | 5 |  |  |  | 2 |  | 981 | 892 |  | 5 | 0 | 733 | 799 |  |  | 1
2024/11/9 | 96 | 88 | 10 |  |  |  | 6 | 8 |  |  | 94 | 466 | 2 |  |  |  | 3 |  | 1085 | 1087 |  | 5 | 0 | 769 | 795 |  |  | 1
2024/11/10 | 96 | 88 | 9 |  |  |  | 6 | 7 |  |  | 92 | 530 | 0 |  |  |  | 5 |  | 1018 | 1018 |  | 5 | 0 | 776 | 750 |  |  | 1
2024/11/11 | 96 | 88 | 9 |  |  |  | 5 | 8 |  |  | 86 | 722 | 0 |  |  |  | 5 |  | 1193 | 1197 |  | 5 | 0 | 697 | 679 |  |  | 1
2024/11/12 | 96 | 88 | 9 |  |  |  | 6 | 7 |  |  | 82 | 798 | 0 |  |  |  | 5 |  | 1163 | 1166 |  | 5 | 0 | 799 | 768 |  |  | 1
2024/11/13 | 93 | 87 | 9 |  |  |  | 6 | 8 |  |  | 84 | 296 | 0 |  |  |  | 5 |  | 1042 | 1045 |  | 5 | 0 | 700 | 681 |  |  | 1
2024/11/14 | 96 | 88 | 8 |  |  |  | 6 | 8 |  |  | 91 | 494 | 0 |  |  |  | 4 |  | 1141 | 1139 |  | 5 | 0 | 699 | 663 |  |  | 1
2024/11/15 | 96 | 88 | 7 |  |  |  | 5 | 6 |  |  | 461 | 534 | 1 |  |  |  | 5 |  | 1290 | 1293 |  | 4 | 2 | 693 | 608 |  |  | 1
2024/11/16 | 96 | 88 | 9 |  |  |  | 6 | 8 |  |  | 485 | 565 | 5 |  |  |  | 5 |  | 1226 | 1229 |  | 5 | 0 | 773 | 710 |  |  | 1
2024/11/17 | 30 | 28 | 9 |  |  |  | 6 | 8 |  |  | 524 | 644 | 5 |  |  |  | 5 |  | 1046 | 1050 |  | 5 | 0 | 798 | 702 |  |  | 1
2024/11/18 | 0 | 0 | 9 |  |  |  | 5 | 8 |  |  | 272 | 557 | 5 |  |  |  | 5 |  | 1010 | 1017 |  | 5 | 2 | 759 | 729 |  |  | 1
2024/11/19 | 93 | 99 | 9 |  |  |  | 6 | 8 |  |  | 76 | 553 | 5 |  |  |  | 5 |  | 908 | 910 |  | 5 | 2 | 759 | 791 |  |  | 1
2024/11/20 | 96 | 99 | 0 |  |  |  | 2 | 2 |  |  | 452 | 360 | 2 |  |  |  | 2 |  | 954 | 953 |  | 2 | 2 | 689 | 669 |  |  | 0
2024/11/21 | 89 | 79 | 7 |  |  |  | 0 | 0 |  |  | 468 | 433 | 2 | 0 |  |  | 0 | 0 | 1009 | 1011 |  | 0 | 0 | 765 | 736 |  |  | 0
2024/11/22 | 99 | 90 | 8 |  |  |  | 5 | 6 |  |  | 528 | 461 | 5 | 0 |  |  | 4 | 0 | 766 | 797 |  | 4 | 1 | 769 | 799 |  |  | 1
2024/11/23 | 99 | 98 | 8 |  |  |  | 6 | 8 |  |  | 448 | 567 | 5 | 0 |  |  | 5 | 0 | 927 | 928 |  | 5 | 2 | 819 | 781 |  |  | 1
2024/11/24 | 99 | 99 | 8 |  |  |  | 5 | 8 |  |  | 632 | 306 | 5 | 0 |  |  | 5 | 0 | 868 | 871 |  | 5 | 1 | 735 | 695 |  |  | 1
2024/11/25 | 99 | 99 | 8 |  |  |  | 6 | 7 |  |  | 105 | 490 | 5 | 0 |  |  | 5 | 0 | 925 | 925 |  | 5 | 1 | 26 | 29 |  |  | 1
2024/11/26 | 99 | 98 | 8 |  |  |  | 6 | 8 |  |  | 76 | 690 | 5 | 0 |  |  | 5 | 0 | 1183 | 1184 |  | 5 | 1 | 0 | 0 |  |  | 1
2024/11/27 | 99 | 98 | 8 |  |  |  | 5 | 8 |  |  | 75 | 67 | 5 | 0 |  |  | 5 | 0 | 94 | 93 |  | 5 | 1 | 0 | 0 |  |  | 1
2024/11/28 | 99 | 98 | 8 |  |  |  | 6 | 7 |  |  | 570 | 0 | 5 | 0 |  |  | 5 | 0 | 0 | 0 |  | 5 | 1 | 699 | 660 |  |  | 1
2024/11/29 | 99 | 98 | 8 |  |  |  | 6 | 8 |  |  | 657 | 345 | 5 | 0 |  |  | 5 | 0 | 948 | 947 |  | 5 | 2 | 769 | 723 |  |  | 1
2024/11/30 | 99 | 98 | 8 |  |  |  | 5 | 7 |  |  | 848 | 645 | 5 | 0 |  |  | 5 | 0 | 1227 | 1228 |  | 4 | 1 | 793 | 739 |  |  | 1
2024/12/1 | 23 | 22 | 2 |  |  |  | 6 | 8 |  |  | 1033 | 498 | 5 | 0 |  |  | 5 | 0 | 911 | 914 |  | 5 | 0 | 839 | 713 |  |  | 1
2024/12/2 | 96 | 90 | 7 |  |  |  | 2 | 2 |  |  | 717 | 605 | 1 | 0 |  |  | 1 | 0 | 957 | 961 |  | 1 | 0 | 899 | 779 |  |  | 0
2024/12/3 | 99 | 99 | 8 |  |  |  | 4 | 6 |  |  | 850 | 36 | 4 | 0 |  |  | 4 | 0 | 0 | 0 |  | 4 | 0 | 873 | 870 |  |  | 1
2024/12/4 | 99 | 99 | 8 |  |  |  | 6 | 8 |  |  | 1132 | 49 | 5 | 0 |  |  | 5 | 0 | 0 | 0 |  | 5 | 0 | 815 | 793 |  |  | 1
2024/12/5 | 99 | 98 | 8 |  |  |  | 6 | 8 |  |  | 87 | 354 | 5 | 0 |  |  | 5 | 0 | 591 | 590 |  | 5 | 0 | 831 | 789 |  |  | 1
2024/12/6 | 99 | 98 | 5 |  |  |  | 6 | 8 |  |  | 137 | 608 | 5 | 0 |  |  | 5 | 0 | 1072 | 1074 |  | 5 | 2 | 829 | 882 |  |  | 1
2024/12/7 | 99 | 90 | 8 |  |  |  | 5 | 5 |  |  | 683 | 479 | 4 | 2 |  |  | 4 | 0 | 1029 | 1032 |  | 3 | 2 | 816 | 763 |  |  | 1
2024/12/8 | 99 | 90 | 8 |  |  |  | 5 | 8 |  |  | 502 | 369 | 5 | 6 |  |  | 5 | 733 | 890 | 893 |  | 5 | 1 | 763 | 860 |  |  | 1
2024/12/9 | 99 | 90 | 8 |  |  |  | 6 | 7 |  |  | 399 | 616 | 5 | 6 |  |  | 5 | 1100 | 1171 | 1176 |  | 5 | 1 | 731 | 672 |  |  | 1
2024/12/10 | 36 | 90 | 2 |  |  |  | 6 | 8 |  |  | 705 | 399 | 5 | 6 |  |  | 5 | 1194 | 1053 | 1052 |  | 5 | 0 | 780 | 729 |  |  | 1
2024/12/11 | 0 | 33 | 0 |  |  |  | 2 | 3 |  |  | 748 | 419 | 0 | 6 |  |  | 2 | 292 | 1027 | 1026 |  | 2 | 1 | 798 | 691 |  |  | 0
2024/12/12 | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  | 457 | 511 | 0 | 6 |  |  | 0 | 40 | 1019 | 1023 |  | 0 | 2 | 818 | 763 |  |  | 0
2024/12/13 | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  | 3 | 834 | 0 | 6 |  |  | 0 | 21 | 1293 | 1297 |  | 0 | 2 | 792 | 699 |  |  | 1
2024/12/14 | 2 | 0 | 0 |  |  |  | 1 | 1 |  |  | 17 | 438 | 0 | 6 |  |  | 1 | 203 | 790 | 791 |  | 1 | 1 | 838 | 797 |  |  | 1
2024/12/15 | 0 | 2 | 0 |  |  |  | 3 | 4 |  |  | 44 | 4 | 0 | 0 |  |  | 2 | 313 | 3 | 3 |  | 2 | 0 | 759 | 817 |  |  | 1
2024/12/16 | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  | 3 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 329 | 313 |  |  | 0
2024/12/17 | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  | 5 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 503 | 978 |  |  | 1
2024/12/18 | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  | 4 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 877 | 835 |  |  | 0
2024/12/19 | 0 | 0 | 0 |  |  |  | 0 | 0 |  |  | 5 | 13 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 792 | 703 |  |  | 0
2024/12/20 | 23 | 20 | 2 |  |  |  | 0 | 0 |  |  | 2 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 769 | 729 |  |  | 0
2024/12/21 | 59 | 52 | 9 |  |  |  | 0 | 0 |  |  | 4 | 0 | 0 | 0 |  |  | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 863 | 821 |  |  | 0
2024/12/22 | 98 | 90 | 9 |  |  |  | 3 | 4 |  |  | 54 | 0 | 0 | 0 |  |  | 3 | 588 | 0 | 0 | 0 | 3 | 1 | 797 | 756 |  |  | 1
2024/12/23 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 93 | 2 | 0 | 0 |  |  | 5 | 1071 | 0 | 0 | 0 | 5 | 2 | 816 | 772 |  |  | 1
2024/12/24 | 98 | 90 | 9 |  |  |  | 6 | 7 |  |  | 91 | 2 | 0 | 0 |  |  | 5 | 1093 | 0 | 0 | 0 | 5 | 1 | 799 | 707 |  |  | 1
2024/12/25 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 88 | 2 | 0 | 0 |  |  | 5 | 1001 | 0 | 0 | 0 | 5 | 1 | 121 | 119 |  |  | 1
2024/12/26 | 98 | 90 | 9 |  |  |  | 6 | 7 |  |  | 84 | 219 | 3 | 0 |  |  | 2 | 1004 | 901 | 905 | 0 | 5 | 1 | 0 | 0 |  |  | 1
2024/12/27 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 86 | 115 | 5 | 0 |  |  | 0 | 1065 | 140 | 141 | 0 | 5 | 1 | 297 | 283 |  |  | 1
2024/12/28 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 257 | 251 | 5 | 0 |  |  | 0 | 1212 | 353 | 353 | 0 | 5 | 1 | 893 | 805 |  |  | 1
2024/12/29 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 799 | 289 | 5 | 0 |  |  | 0 | 831 | 1171 | 1175 | 0 | 5 | 1 | 893 | 783 |  |  | 1
2024/12/30 | 98 | 90 | 9 |  |  |  | 6 | 7 |  |  | 736 | 560 | 5 | 0 |  |  | 0 | 1106 | 1131 | 1130 | 0 | 5 | 2 | 757 | 709 |  |  | 1
2024/12/31 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 961 | 393 | 5 | 0 |  |  | 0 | 1107 | 1078 | 1082 | 0 | 5 | 0 | 709 | 796 |  |  | 1
2025/1/1 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 498 | 402 | 5 | 0 |  |  | 0 | 1121 | 974 | 977 | 0 | 5 | 2 | 709 | 661 |  |  | 1
2025/1/2 | 98 | 90 | 9 |  |  |  | 7 | 8 |  |  | 95 | 395 | 5 | 0 |  |  | 0 | 1181 | 828 | 826 | 0 | 5 | 2 | 876 | 823 |  |  | 1
2025/1/3 | 98 | 90 | 9 |  |  |  | 6 | 7 |  |  | 170 | 178 | 5 | 0 |  |  | 0 | 1306 | 273 | 276 | 0 | 5 | 1 | 856 | 818 |  |  | 1
2025/1/4 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 757 | 0 | 5 | 0 |  |  | 0 | 1043 | 0 | 0 | 0 | 5 | 2 | 909 | 837 |  |  | 1
2025/1/5 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 686 | 528 | 5 | 0 |  |  | 0 | 1165 | 993 | 995 | 0 | 5 | 2 | 769 | 709 |  |  | 1
2025/1/6 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 966 | 512 | 5 | 0 |  |  | 0 | 890 | 1023 | 1022 | 0 | 5 | 2 | 863 | 791 |  |  | 1
2025/1/7 | 98 | 90 | 9 |  |  |  | 6 | 8 |  |  | 550 | 557 | 5 | 0 |  |  | 0 | 1062 | 1124 | 1124 | 0 | 5 | 0 | 819 | 770 |  |  | 1
2025/1/8 | 98 | 90 | 9 |  |  |  | 7 | 8 |  |  | 94 | 543 | 5 | 0 |  |  | 0 | 946 | 990 | 993 | 0 | 5 | 2 | 833 | 792 |  |  | 1
2025/1/9 | 98 | 90 | 9 |  |  |  | 6 | 7 |  |  | 195 | 653 | 5 | 3 |  |  | 0 | 1015 | 1088 | 1091 | 0 | 5 | 2 | 606 | 573 |  |  | 0
2025/1/10 | 98 | 90 | 2 |  |  |  | 6 | 8 |  |  | 98 | 423 | 5 | 2 |  |  | 0 | 1234 | 923 | 925 | 0 | 5 | 2 | 0 | 0 |  |  | 1
2025/1/11 | 25 | 88 | 0 |  |  |  | 5 | 7 |  |  | 94 | 284 | 4 | 0 |  |  | 0 | 643 | 848 | 848 | 0 | 4 | 2 | 0 | 0 |  |  | 0
2025/1/12 | 0 | 0 | 2 |  |  |  | 6 | 7 |  |  | 491 | 534 | 4 | 0 |  |  | 0 | 992 | 961 | 962 | 0 | 4 | 2 | 590 | 598 |  |  | 1
2025/1/13 | 98 | 88 | 9.5 |  |  |  | 1 | 2 |  |  | 755 | 336 | 1 | 0 |  |  | 0 | 234 | 970 | 971 | 0 | 1 | 2 | 535 | 779 |  |  | 1
2025/1/14 | 98 | 88 | 11 |  |  |  | 0 | 0 |  |  | 879 | 352 | 0 | 2 |  |  | 0 | 27 | 1007 | 1009 | 0 | 0 | 2 | 535 | 778 |  |  | 1
2025/1/15 | 98 | 90 | 11 |  |  |  | 4 | 4 |  |  | 358 | 382 | 3 | 0 |  |  | 3 | 561 | 903 | 901 | 2 | 0 | 1 | 828 | 787 |  |  | 1
2025/1/16 | 96 | 90 | 11 |  |  |  | 6 | 8 |  |  | 85 | 523 | 5 | 0 |  |  | 5 | 1125 | 1078 | 1076 | 5 | 0 | 1 | 833 | 813 |  |  | 1
2025/1/17 | 99 | 88 | 11 |  |  |  | 6 | 8 |  |  | 76 | 514 | 5 | 0 |  |  | 4 | 1152 | 917 | 916 | 4 | 0 | 0 | 829 | 789 |  |  | 1
2025/1/18 | 99 | 90 | 11 |  |  |  | 6 | 7 |  |  | 97 | 648 | 5 | 0 |  |  | 5 | 1067 | 1046 | 1046 | 4 | 0 | 0 | 869 | 829 |  |  | 1
2025/1/19 | 98 | 90 | 11 |  |  |  | 6 | 8 |  |  | 450 | 328 | 5 | 0 |  |  | 5 | 945 | 758 | 756 | 4 | 0 | 1 | 868 | 816 |  |  | 1
2025/1/20 | 99 | 88 | 10 |  |  |  | 6 | 8 |  |  | 831 | 0 | 5 | 0 |  |  | 5 | 1125 | 0 | 0 | 5 | 0 | 2 | 899 | 829 |  |  | 1
2025/1/21 | 99 | 88 | 10 |  |  |  | 6 | 8 |  |  | 847 | 241 | 5 | 3 |  |  | 5 | 1223 | 648 | 650 | 4 | 0 | 1 | 826 | 769 |  |  | 1
2025/1/22 | 99 | 88 | 11 |  |  |  | 6 | 8 |  |  | 433 | 408 | 5 | 6 |  |  | 5 | 1079 | 903 | 905 | 4 | 0 | 1 | 869 | 829 |  |  | 1
2025/1/23 | 99 | 88 | 10 |  |  |  | 6 | 7 |  |  | 506 | 442 | 5 | 6 |  |  | 5 | 1149 | 1048 | 1052 | 4 | 0 | 2 | 829 | 785 |  |  | 1
2025/1/24 | 99 | 88 | 10 |  |  |  | 6 | 8 |  |  | 179 | 488 | 5 | 6 |  |  | 5 | 1291 | 959 | 9 | 4 | 0 | 2 | 777 | 733 |  |  | 1
2025/1/25 | 99 | 88 | 10 |  |  |  | 6 | 8 |  |  | 101 | 619 | 5 | 6 |  |  | 5 | 1264 | 1038 | 1042 | 4 | 0 | 2 | 835 | 790 |  |  | 1
2025/1/26 | 99 | 87 | 9 |  |  |  | 6 | 8 |  |  | 268 | 471 | 5 | 6 |  |  | 5 | 1217 | 773 | 772 | 4 | 0 | 2 | 768 | 725 |  |  | 1
2025/1/27 | 99 | 88 | 9 |  |  |  | 6 | 8 |  |  | 505 | 436 | 5 | 6 |  |  | 5 | 640 | 830 | 825 | 4 | 0 | 2 | 587 | 599 |  |  | 1
2025/1/28 | 99 | 88 | 9 |  |  |  | 6 | 8 |  |  | 734 | 388 | 5 | 6 |  |  | 5 | 1188 | 682 | 679 | 4 | 0 | 1 | 809 | 796 |  |  | 1
2025/1/29 | 99 | 88 | 10 |  |  |  | 6 | 7 |  |  | 892 | 465 | 5 | 6 |  |  | 5 | 932 | 756 | 754 | 5 | 0 | 2 | 899 | 789 |  |  | 1
2025/1/30 | 99 | 88 | 9 |  |  |  | 6 | 8 |  |  | 598 | 522 | 5 | 6 |  |  | 5 | 1422 | 905 | 905 | 4 | 0 | 1 | 909 | 899 |  |  | 1
2025/1/31 | 98 | 88 | 9 |  |  |  | 7 | 8 |  |  | 320 | 640 | 5 | 6 |  |  | 5 | 1416 | 1150 | 1150 | 5 | 0 | 1 | 877 | 825 |  |  | 1
2025/2/1 | 31 | 30 | 10 |  |  |  | 7 | 8 |  |  | 159 | 667 | 5 | 6 |  |  | 5 | 1422 | 1099 | 1087 | 5 | 0 | 2 | 860 | 810 |  |  | 0
2025/2/2 | 99 | 88 | 3 |  |  |  | 6 | 8 |  |  | 427 | 625 | 5 | 6 |  |  | 5 | 375 | 1116 | 1118 | 5 | 0 | 2 | 870 | 819 |  |  | 1
2025/2/3 | 99 | 88 | 7 |  |  |  | 3 | 3 |  |  | 774 | 268 | 5 | 6 |  |  | 2 | 443 | 512 | 513 | 5 | 0 | 2 | 899 | 820 |  |  | 1
2025/2/4 | 99 | 88 | 9 |  |  |  | 7 | 8 |  |  | 956 | 452 | 5 | 6 |  |  | 5 | 1279 | 902 | 907 | 2 | 0 | 2 | 869 | 809 |  |  | 1
2025/2/5 | 99 | 88 | 9 |  |  |  | 7 | 7 |  |  | 1045 | 721 | 5 | 6 |  |  | 5 | 870 | 1231 | 1227 | 5 | 0 | 1 | 778 | 812 |  |  | 1
2025/2/6 | 99 | 88 | 9 |  |  |  | 7 | 8 |  |  | 141 | 780 | 5 | 6 |  |  | 5 | 8 | 1509 | 1511 | 5 | 0 | 2 | 759 | 729 |  |  | 1
2025/2/7 | 99 | 88 | 10 |  |  |  | 7 | 7 |  |  | 120 | 766 | 5 | 6 |  |  | 5 | 7 | 1579 | 1582 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/8 | 99 | 88 | 9 |  |  |  | 6 | 8 |  |  | 143 | 626 | 5 | 6 |  |  | 5 | 4 | 1391 | 1393 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/9 | 99 | 88 | 9 |  |  |  | 6 | 7 |  |  | 143 | 696 | 5 | 3 |  |  | 5 | 0 | 1133 | 1130 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/10 | 99 | 87 | 9 |  |  |  | 7 | 7 |  |  | 160 | 599 | 5 | 0 |  |  | 5 | 10 | 922 | 920 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/11 | 98 | 87 | 9 |  |  |  | 7 | 9 |  |  | 165 | 561 | 5 | 0 |  |  | 5 | 164 | 979 | 973 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/12 | 99 | 87 | 10 |  |  |  | 6 | 6 |  |  | 147 | 233 | 4 | 0 |  |  | 4 | 706 | 405 | 404 | 5 | 0 | 1 | 0 | 0 |  |  | 1
2025/2/13 | 98 | 88 | 10 |  |  |  | 7 | 8 |  |  | 20 | 380 | 5 | 0 |  |  | 5 | 447 | 937 | 937 | 4 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/14 | 98 | 88 | 10 |  |  |  | 6 | 7 |  |  | 6 | 679 | 5 | 0 |  |  | 5 | 142 | 1466 | 1465 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/15 | 99 | 88 | 10 |  |  |  | 7 | 8 |  |  | 6 | 729 | 5 | 0 |  |  | 5 | 3 | 1551 | 1553 | 5 | 0 | 2 | 0 | 0 |  |  | 1
2025/2/16 | 98 | 88 | 10 |  |  |  | 6 | 7 |  |  | 142 | 455 | 5 | 0 |  |  | 5 | 1 | 1112 | 1112 | 4 | 0 | 2 | 197 | 138 |  |  | 1
2025/2/17 | 99 | 88 | 10 |  |  |  | 7 | 7 |  |  | 50 | 613 | 5 | 0 |  |  | 5 | 2 | 1281 | 1281 | 5 | 0 | 1 | 299 | 280 |  |  | 1
2025/2/18 | 99 | 88 | 10 |  |  |  | 6 | 8 |  |  | 614 | 358 | 5 | 0 |  |  | 5 | 2 | 853 | 852 | 4 | 0 | 0 | 790 | 669 |  |  | 1
2025/2/19 | 99 | 88 | 12 |  | 0 |  | 7 | 7 |  |  | 789 | 429 | 5 |  |  |  | 5 | 0 | 1013 | 1012 | 4 | 0 | 0 | 785 | 730 |  |  | 1
2025/2/20 | 99 | 88 | 12 |  | 0 |  | 6 | 7 |  |  | 1046 | 405 | 5 |  |  |  | 5 | 0 | 816 | 816 | 4 | 0 | 0 | 897 | 830 |  |  | 1
2025/2/21 | 98 | 87 | 12 |  | 0 |  | 7 | 8 |  |  | 528 | 355 | 5 |  |  |  | 5 | 0 | 844 | 843 | 4 | 0 | 0 | 888 | 829 |  |  | 1
2025/2/22 | 99 | 87 | 12 |  | 2 |  | 6 | 7 |  |  | 786 | 450 | 5 |  |  |  | 5 | 1 | 1216 | 1222 | 4 | 0 | 2 | 829 | 775 |  |  | 1
2025/2/23 | 98 | 88 | 12 |  | 6 |  | 7 | 8 |  |  | 953 | 410 | 5 |  |  |  | 5 | 1 | 1119 | 1121 | 4 | 0 | 1 | 869 | 813 |  |  | 1
2025/2/24 | 98 | 88 | 12 |  | 6 |  | 6 | 7 |  |  | 835 | 605 | 2 |  |  |  | 5 | 0 | 1150 | 1149 | 4 | 0 | 2 | 678 | 692 |  |  | 1
2025/2/25 | 98 | 88 | 12 |  | 6 |  | 7 | 8 |  |  | 907 | 603 | 3 |  |  |  | 2 | 5 | 1236 | 1238 | 4 | 0 | 2 | 899 | 789 |  |  | 1
2025/2/26 | 98 | 88 | 12 |  | 0 |  | 6 | 7 |  |  | 1023 | 688 | 5 |  |  |  | 0 | 3 | 1715 | 1717 | 4 | 0 | 1 | 869 | 805 |  |  | 1
2025/2/27 | 98 | 88 | 12 |  | 0 |  | 7 | 7 |  |  | 740 | 634 | 5 |  |  |  | 0 | 1 | 1341 | 1345 | 4 | 0 | 1 | 828 | 772 |  |  | 1
2025/2/28 | 96 | 87 | 12 |  | 2 |  | 2 | 2 |  |  | 557 | 448 | 2 |  |  |  | 0 | 0 | 1282 | 1283 | 1 | 0 | 0 | 902 | 851 |  |  | 0
2025/3/1 | 30 | 30 | 2 |  | 0 |  | 0 | 0 |  |  | 881 | 636 | 0 |  |  |  | 0 | 35 | 1541 | 1545 | 0 | 0 | 0 | 886 | 820 |  |  | 0
2025/3/2 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  |  | 760 | 330 | 0 |  |  |  | 0 | 5 | 773 | 777 | 0 | 0 | 0 | 850 | 791 |  |  | 0
2025/3/3 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  |  | 623 | 407 | 0 |  |  |  | 0 | 7 | 1200 | 1207 | 0 | 0 | 0 | 807 | 757 |  |  | 0
2025/3/4 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  |  | 12 | 631 | 0 |  |  |  | 0 | 15 | 1493 | 1499 | 0 | 0 | 0 | 817 | 776 |  |  | 1
2025/3/5 | 0 | 0 | 0 |  | 0 |  | 2 | 3 |  |  | 24 | 547 | 2 |  |  |  | 2 | 9 | 1268 | 1269 | 2 | 0 | 0 | 879 | 822 |  |  | 1
2025/3/6 | 0 | 0 | 0 |  | 9 |  | 6 | 7 |  |  | 127 | 325 | 5 |  |  |  | 5 | 384 | 1253 | 1250 | 5 | 0 | 0 | 872 | 833 |  |  | 1
2025/3/7 | 89 | 89 | 9 |  | 18 |  | 7 | 8 |  |  | 117 | 552 | 5 |  |  |  | 5 | 1193 | 1301 | 1302 | 5 | 0 | 2 | 897 | 808 |  |  | 1
2025/3/8 | 98 | 88 | 12 |  | 10 |  | 6 | 7 |  |  | 103 | 735 | 5 |  |  |  | 5 | 1191 | 1186 | 1185 | 5 | 0 | 2 | 857 | 819 |  |  | 1
2025/3/9 | 98 | 88 | 12 |  | 8 |  | 6 | 7 |  |  | 170 | 330 | 5 |  |  |  | 5 | 1155 | 1187 | 1186 | 4 | 0 | 2 | 809 | 760 |  |  | 1
2025/3/10 | 98 | 88 | 12 |  | 8 |  | 6 | 7 |  |  | 109 | 557 | 5 |  |  |  | 5 | 715 | 1598 | 1598 | 4 | 0 | 2 | 853 | 807 |  |  | 1
2025/3/11 | 98 | 88 | 12 |  | 10 |  | 6 | 7 |  |  | 115 | 361 | 5 |  |  |  | 5 | 725 | 1364 | 1370 | 5 | 0 | 1 | 879 | 832 |  |  | 1
2025/3/12 | 98 | 88 | 12 |  | 13 |  | 6 | 7 |  |  | 105 | 562 | 5 |  |  |  | 5 | 1083 | 1260 | 1267 | 5 | 0 | 1 | 893 | 809 |  |  | 1
2025/3/13 | 98 | 87 | 12 |  | 10 |  | 7 | 8 |  |  | 125 | 547 | 5 |  |  |  | 5 | 714 | 1094 | 1100 | 5 | 0 | 1 | 893 | 803 |  |  | 1
2025/3/14 | 98 | 87 | 12 |  | 11 |  | 6 | 7 |  |  | 127 | 322 | 5 |  |  |  | 5 | 823 | 942 | 944 | 5 | 0 | 2 | 868 | 823 |  |  | 1
2025/3/15 | 98 | 87 | 12 |  | 11 |  | 6 | 8 |  |  | 117 | 577 | 3 |  |  |  | 5 | 668 | 1234 | 1233 | 5 | 0 | 2 | 899 | 898 |  |  | 1
2025/3/16 | 98 | 88 | 12 |  | 12 |  | 6 | 6 |  |  | 94 | 371 | 0 |  |  |  | 5 | 1198 | 985 | 984 | 0 | 0 | 2 | 799 | 759 |  |  | 1
2025/3/17 | 98 | 89 | 12 |  | 11 |  | 7 | 7 |  |  | 105 | 7 | 0 |  |  |  | 5 | 909 | 2 | 1 | 0 | 5 | 0 | 779 | 791 |  |  | 1
2025/3/18 | 99 | 89 | 12 |  | 10 |  | 7 | 8 |  |  | 111 | 533 | 0 |  |  |  | 5 | 889 | 1176 | 1177 | 0 | 5 | 2 | 879 | 850 |  |  | 1
2025/3/19 | 98 | 89 | 10 |  | 11 |  | 6 | 7 |  |  | 108 | 392 | 0 |  |  |  | 5 | 574 | 1082 | 1082 | 0 | 5 | 1 | 863 | 892 |  |  | 1

## فرم ارائه گزارش برق فیلتراسیون
فرم میزان مصرف برق
کد تجهیز | 610-P-003C | 610-P-002B | 610-P-001A | 610-P-004D | 630-P-002A | 630-P-002B | 630-P-002C | 630-P-002D | 630-P-002E | 630-P-002F | 630-P-002G | 650-AC-001A | 650-AC-001B | 650-AC-001C | 640-BC-001 | 630-MX-002A | 630-MX-002B | 620-P-001A | 620-P-001B | 620-P-001C | 670-P-006A | 670-P-006B | 670-P-006C | 630-P-003A | 630-P-003A2 | 630-P-003A3 | 630-SC-001A | 630-SC-001B | 630-SC-001C | 670-P-003 | 640-PF-001A
تاریخ | SLURRY CENTRIFUGAL PUMP | SLURRY CENTRIFUGAL PUMP | SLURRY CENTRIFUGAL PUMP | SLURRY CENTRIFUGAL PUMP | FILTER FEED PUMPS | FILTER FEED PUMPS | FILTER FEED PUMPS | FILTER FEED PUMPS | FILTER FEED PUMPS | FILTER FEED PUMPS | FILTER FEED PUMPS | AIR COMPRESSOR | AIR COMPRESSOR | AIR COMPRESSOR | STOCKPILE FEED BELT CONVEYOR | FEED TANK AGITATOR | FEED TANK AGITATOR | RETURN WATER PUMP | RETURN WATER PUMP | RETURN WATER PUMP | RAW WATER PUPMS | RAW WATER PUPMS | RAW WATER PUPMS | SCREEN AREA SLURRY PUMPS | SCREEN AREA SLURRY PUMPS | SCREEN AREA SLURRY PUMPS | SCREEN | SCREEN | SCREEN | FIRE-FIGHTING PUMPS | PRESSURE FILTER
2025/1/20
2025/1/21
2025/1/22
2025/1/23
2025/1/24
2025/1/25
2025/1/26
2025/1/27
2025/1/28
2025/1/29
2025/1/30
2025/1/31
2025/2/1
2025/2/2
2025/2/3 | 528 | 0 | 152 | 0 | 947 | 1023 | 1240 | 728 | 0 | 603 |  |  |  | 0 | 378 | 295
2025/2/4 | 522 | 0 | 147 | 0 | 853 | 692 | 733 | 743 | 0 | 628 |  |  |  | 0 | 373 | 311
2025/2/5 | 543 | 0 | 136 | 0 | 848 | 746 | 766 | 809 | 0 | 565 |  |  |  | 0 | 374 | 311
2025/2/6 | 510 | 0 | 176 | 0 | 849 | 771 | 772 | 736 | 0 | 610 |  |  |  | 0 | 371 | 324
2025/2/7 | 432 | 0 | 252 | 0 | 863 | 1219 | 1231 | 592 | 0 | 853 |  |  |  | 0 | 357 | 320
2025/2/8 | 299 | 0 | 249 | 0 | 743 | 1250 | 1301 | 423 | 0 | 1059 |  |  |  | 0 | 387 | 316
2025/2/9 | 346 | 0 | 275 | 0 | 895 | 1349 | 1364 | 411 | 0 | 1061 |  |  |  | 0 | 380 | 306
2025/2/10 | 339 | 0 | 265 | 0 | 759 | 1279 | 1260 | 379 | 0 | 947 |  |  |  | 0 | 379 | 305
2025/2/11 | 329 | 0 | 268 | 0 | 756 | 779 | 840 | 377 | 0 | 917 |  |  |  | 0 | 378 | 306
2025/2/12 | 409 | 0 | 235 | 0 | 873 | 1181 | 1171 | 460 | 0 | 1055 |  |  |  | 0 | 392 | 318
2025/2/13 | 533 | 0 | 253 | 0 | 878 | 1104 | 1085 | 468 | 0 | 1056 |  |  |  | 0 | 393 | 324
2025/2/14 | 379 | 28 | 439 | 0 | 844 | 1116 | 1126 | 532 | 0 | 941 |  |  |  | 0 | 383 | 310
2025/2/15 | 0 | 517 | 284 | 0 | 908 | 1072 | 1065 | 791 | 0 | 670 |  |  |  | 0 | 373 | 312
2025/2/16 | 0 | 446 | 253 | 0 | 860 | 992 | 934 | 714 | 0 | 611 |  |  |  | 0 | 378 | 330
2025/2/17 | 0 | 462 | 298 | 0 | 898 | 803 | 779 | 695 | 0 | 597 |  |  |  | 0 | 374 | 313
2025/2/18 | 0 | 392 | 324 | 0 | 843 | 1212 | 1257 | 753 | 0 | 642 |  |  |  | 0 | 367 | 327
2025/2/19 | 0 | 549 | 328 | 0 | 962 | 1269 | 1271 | 757 | 0 | 646 |  |  |  | 0 | 370 | 332
2025/2/20 | 0 | 507 | 349 | 0 | 948 | 1212 | 1186 | 783 | 0 | 666 |  |  |  | 0 | 378 | 328
2025/2/21 | 0 | 587 | 354 | 0 | 898 | 1193 | 1240 | 756 | 0 | 646 |  |  |  | 0 | 397 | 316
2025/2/22 | 0 | 521 | 306 | 0 | 930 | 1155 | 1120 | 765 | 0 | 653 |  |  |  | 0 | 394 | 303
2025/2/23 | 0 | 522 | 280 | 0 | 953 | 1235 | 1254 | 775 | 0 | 655 |  |  |  | 0 | 393 | 309
2025/2/24 | 0 | 515 | 273 | 0 | 987 | 820 | 769 | 767 | 0 | 648 |  |  |  | 0 | 385 | 306
2025/2/25 | 0 | 439 | 218 | 0 | 874 | 712 | 682 | 737 | 0 | 628 |  |  |  | 0 | 374 | 301
2025/2/26 | 0 | 538 | 88 | 0 | 816 | 1194 | 910 | 718 | 0 | 609 |  |  |  | 0 | 369 | 307
2025/2/27 | 0 | 218 | 0 | 0 | 0 | 522 | 496 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2025/2/28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2025/3/1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2025/3/2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2025/3/3 | 0 | 0 | 0 | 0 | 440 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2025/3/4 | 0 | 88 | 0 | 112 | 214 | 221 | 199 | 240 | 0 | 219 |  |  |  | 0 | 259 | 200
2025/3/5 | 0 | 356 | 0 | 498 | 819 | 1181 | 1275 | 693 | 0 | 579 |  |  |  | 0 | 376 | 290
2025/3/6 | 0 | 369 | 0 | 500 | 859 | 1338 | 1391 | 705 | 0 | 593 |  |  |  | 0 | 382 | 290
2025/3/7 | 0 | 513 | 0 | 492 | 899 | 1149 | 1188 | 706 | 0 | 606 |  |  |  | 0 | 385 | 290
2025/3/8 | 0 | 533 | 0 | 369 | 908 | 1254 | 1292 | 709 | 0 | 790 |  |  |  | 0 | 377 | 293
2025/3/9 | 0 | 475 | 0 | 346 | 817 | 1313 | 1360 | 642 | 0 | 534 |  |  |  | 0 | 280 | 291
2025/3/10 | 0 | 546 | 0 | 332 | 896 | 1185 | 1197 | 697 | 0 | 574 |  |  |  | 0 | 383 | 304
2025/3/11 | 0 | 513 | 0 | 548 | 880 | 1315 | 1360 | 745 | 0 | 610 |  |  |  | 0 | 375 | 281
2025/3/12 | 0 | 546 | 0 | 518 | 934 | 1257 | 1287 | 787 | 0 | 634 |  |  |  | 0 | 381 | 306
2025/3/13 | 0 | 585 | 0 | 429 | 965 | 1276 | 1308 | 725 | 0 | 600 |  |  |  | 0 | 380 | 302
2025/3/14 | 0 | 414 | 0 | 492 | 935 | 1338 | 1386 | 735 | 0 | 609 |  |  |  | 0 | 386 | 304
2025/3/15 | 0 | 491 | 0 | 547 | 887 | 1311 | 1374 | 641 | 0 | 531 |  |  |  | 0 | 371 | 297
2025/3/16 | 0 | 497 | 0 | 347 | 928 | 1168 | 1226 | 709 | 0 | 590 |  |  |  | 0 | 366 | 298
2025/3/17 | 0 | 499 | 0 | 450 | 943 | 1136 | 1143 | 733 | 0 | 600 |  |  |  | 0 | 370 | 296
2025/3/18 | 0 | 498 | 0 | 330 | 928 | 1153 | 1162 | 676 | 0 | 617 |  |  |  | 0 | 368 | 297
2025/3/19 | 0 | 430 | 0 | 461 | 991 | 1234 | 1274 | 736 | 0 | 594 |  |  |  | 0 | 372 | 301
Error | 0 | 156 | 0 | 107 | 226 | 635 | 714 | 296 | 0 | 247 |  |  |  | 0 | 125 | 103

## فرم ارائه گزارش برق گندله
فرم میزان مصرف برق تجهیزات
کد تجهیز | 164FA04 | 164FA01 | 164FA02 | 164FA03 | 163AB07 | 164DC01 | 163AB08 | 163AB09 | 163AB10 | 164FA05 | 163AB19 | 167CO01 | 167CO02 | 167CO03 | 167CO04 | 167CO05 | 163LT01 | 961CV01 | 966CV05 | 966CV06 | 161MX01 | 164DC02 | 165LT01 | 167MC01 | 161LT01 | 966ST01 | 163DF02 | 153PU05 | 153PU06 | 163KL01 | 163KL01 | 163KL01 | 163KL01 | 966CV03 | 162PT01 | 162PT02 | 162PT03 | 162PT04 | 162PT05 | 162PT06 | 166MI01 | 162LT01 | 166DF01 | 161DF01 | 165DF01 | 164HV01 | 153PU03 | 153PU04
تاریخ | Main exhaust fan | Recuperation Fan-1 (Heat return fan 1) | Recuperation Fan-2 (Heat return fan 2) | Up-draft drying fan | NO.1 Cooling fan for circular cooler | Main ESP panel | NO.2 Cooling fan for circular cooler | NO.3 Cooling fan for circular cooler | NO.4 Cooling fan for circular cooler | Hood fan | Dedusting fan for traveling grate building | Screw Compressor-1 (Water Cooling) | Screw Compressor-2 (Water Cooling) | Screw Compressor-3 (Water Cooling) | Screw Compressor-4 (Water Cooling) | Screw Compressor-5 (Water Cooling) | Main Lighting Transformer (Indurating arae) | JK-1Belt conveyer | Belt conveyor | Belt conveyor | Vertical mixer panel | Hood ESP panel | Main Lighting Transformer (Screening arae) | Auxiliary loads for compressors | Main Lighting Transformer (Proportioning arae) | Stacker | Dedusting local panel (163AB20) | High-pressure cooling water pump | High-pressure cooling water pump | Rotary kiln | Rotary kiln | Rotary kiln | Rotary kiln | Belt conveyor | ∅7.5m Disk pelletizer | ∅7.5m Disk pelletizer | ∅7.5m Disk pelletizer | ∅7.5m Disk pelletizer | ∅7.5m Disk pelletizer | ∅7.5m Disk pelletizer | ZMJ900A column mill electrical panel | Main Lighting Transformer (Pelletizing arae) | bag filter local panel | bag filter local panel | Dedusting Local panel | Air conditioning-Roof top package 01 | Common-pressure cooling water pump | Common-pressure cooling water pump
2024/3/20 |  | 7569
2024/3/21 |  | 6728
2024/3/22 |  | 5712
2024/3/23 |  | 2672
2024/3/24 |  | 6120
2024/3/25 |  | 6120
2024/3/26 |  | 4269
2024/3/27 |  | 7920
2024/3/28 |  | 9984
2024/3/29 |  | 10920
2024/3/30 |  | 14880
2024/3/31 |  | 14302
2024/4/1 |  | 14300
2024/4/2 |  | 14256
2024/4/3 |  | 13656
2024/4/4 |  | 10250
2024/4/5 |  | 12340
2024/4/6 |  | 4224
2024/4/7 |  | 13353
2024/4/8 |  | 11880
2024/4/9 |  | 7859
2024/4/10 |  | 12304
2024/4/11 |  | 12000
2024/4/12 |  | 10256
2024/4/13 |  | 11956
2024/4/14 |  | 11011
2024/4/15 |  | 7800
2024/4/16 |  | 11800
2024/4/17 |  | 1300
2024/4/18 |  | 72
2024/4/19 |  | 65
2024/4/20 |  | 70
2024/4/21 |  | 6100
2024/4/22 |  | 9600
2024/4/23 |  | 12200
2024/4/24 |  | 12168
2024/4/25 |  | 10256
2024/4/26 |  | 9600
2024/4/27 |  | 14000
2024/4/28 |  | 11256
2024/4/29 |  | 12300
2024/4/30 |  | 13456
2024/5/1 |  | 13400
2024/5/2 |  | 7300
2024/5/3 |  | 14400
2024/5/4 |  | 9690
2024/5/5 |  | 12000
2024/5/6 |  | 13400
2024/5/7 |  | 75
2024/5/8 |  | 7500
2024/5/9 |  | 14000
2024/5/10 |  | 14400
2024/5/11 |  | 11760
2024/5/12 |  | 13200
2024/5/13 |  | 14352
2024/5/14 |  | 8000
2024/5/15 |  | 15500
2024/5/16 |  | 15600
2024/5/17 |  | 10800
2024/5/18 |  | 13200
2024/5/19 |  | 14800
2024/5/20 |  | 74
2024/5/21 |  | 14400
2024/5/22 |  | 6800
2024/5/23 |  | 0
2024/5/24 |  | 0
2024/5/25 |  | 200
2024/5/26 |  | 11760
2024/5/27 |  | 12000
2024/5/28 |  | 10000
2024/5/29 |  | 11880
2024/5/30 |  | 11256
2024/5/31 |  | 15000
2024/6/1 |  | 9600
2024/6/2 |  | 14880
2024/6/3 |  | 13560
2024/6/4 |  | 14300
2024/6/5 |  | 14200
2024/6/6 |  | 14400
2024/6/7 |  | 10400
2024/6/8 |  | 13900
2024/6/9 |  | 11232
2024/6/10 |  | 10080
2024/6/11 |  | 76
2024/6/12 |  | 13400
2024/6/13 |  | 14160
2024/6/14 |  | 9600
2024/6/15 |  | 1320
2024/6/16 |  | 4000
2024/6/17 |  | 0
2024/6/18 |  | 200
2024/6/19 |  | 0
2024/6/20 |  | 0
2024/6/21 |  | 80
2024/6/22 |  | 0
2024/6/23 |  | 0
2024/6/24 |  | 0
2024/6/25 |  | 0
2024/6/26 |  | 0
2024/6/27 |  | 0
2024/6/28 |  | 0
2024/6/29 |  | 0
2024/6/30 |  | 0
2024/7/1 |  | 0
2024/7/2 |  | 0
2024/7/3 |  | 0
2024/7/4 |  | 0
2024/7/5 |  | 0
2024/7/6 |  | 0
2024/7/7 |  | 0
2024/7/8 |  | 0
2024/7/9 |  | 0
2024/7/10 |  | 0
2024/7/11 |  | 0
2024/7/12 |  | 0
2024/7/13 |  | 0
2024/7/14 |  | 0
2024/7/15 |  | 0
2024/7/16 |  | 0
2024/7/17 |  | 0
2024/7/18 |  | 0
2024/7/19 |  | 0
2024/7/20 |  | 0
2024/7/21 |  | 0
2024/7/22 |  | 0
2024/7/23 |  | 0
2024/7/24 |  | 0
2024/7/25 |  | 0
2024/7/26 |  | 0
2024/7/27 |  | 0
2024/7/28 |  | 0
2024/7/29 |  | 0
2024/7/30 |  | 0
2024/7/31 |  | 0
2024/8/1 |  | 0
2024/8/2 |  | 0
2024/8/3 |  | 0
2024/8/4 |  | 0
2024/8/5 |  | 0
2024/8/6 |  | 0
2024/8/7 |  | 0
2024/8/8 |  | 0
2024/8/9 |  | 0
2024/8/10 |  | 0
2024/8/11 |  | 0
2024/8/12 |  | 0
2024/8/13 |  | 48
2024/8/14 |  | 60
2024/8/15 |  | 2400
2024/8/16 |  | 0
2024/8/17 |  | 0
2024/8/18 |  | 0
2024/8/19 |  | 4800
2024/8/20 |  | 9100
2024/8/21 |  | 12000
2024/8/22 |  | 12300
2024/8/23 |  | 10000
2024/8/24 |  | 14000
2024/8/25 |  | 8875
2024/8/26 |  | 8900
2024/8/27 |  | 10000
2024/8/28 |  | 14100
2024/8/29 |  | 14000
2024/8/30 |  | 10151
2024/8/31 |  | 10200
2024/9/1 |  | 9800
2024/9/2 |  | 8600
2024/9/3 |  | 7800
2024/9/4 |  | 12100
2024/9/5 |  | 6800
2024/9/6 |  | 9200
2024/9/7 |  | 8956
2024/9/8 |  | 7800
2024/9/9 |  | 14100
2024/9/10 |  | 12256
2024/9/11 |  | 13200
2024/9/12 |  | 13333
2024/9/13 |  | 14000
2024/9/14 |  | 12100
2024/9/15 |  | 7800
2024/9/16 |  | 6900
2024/9/17 |  | 4800
2024/9/18 |  | 12000
2024/9/19 |  | 9857
2024/9/20 |  | 11659
2024/9/21 |  | 8296
2024/9/22 |  | 0 |  | 16384
2024/9/23 |  | 70 |  | 16251
2024/9/24 |  | 7800 |  | 7000
2024/9/25 |  | 9650 |  | 6200
2024/9/26 |  | 11000 |  | 9100
2024/9/27 |  | 11110 |  | 14770
2024/9/28 |  | 11151 |  | 18900
2024/9/29 |  | 10800 |  | 18251
2024/9/30 |  | 10000 |  | 18390
2024/10/1 |  | 9870 |  | 18700
2024/10/2 |  | 9850 |  | 14251
2024/10/3 |  | 10010 |  | 14200
2024/10/4 |  | 8756 |  | 14300
2024/10/5 |  | 7800 |  | 12200
2024/10/6 |  | 800 |  | 14151
2024/10/7 |  | 9600 |  | 14152
2024/10/8 |  | 5750 |  | 16190
2024/10/9 |  | 8700 |  | 16200
2024/10/10 |  | 9600 |  | 16100
2024/10/11 |  | 12000 |  | 15100
2024/10/12 |  | 12100 |  | 15151
2024/10/13 |  | 11150 |  | 15252
2024/10/14 |  | 11000 |  | 17800
2024/10/15 |  | 12156 |  | 18900
2024/10/16 |  | 12114 |  | 18959
2024/10/17 |  | 12800 |  | 18251
2024/10/18 |  | 14000 |  | 18700
2024/10/19 |  | 12756 |  | 10610
2024/10/20 |  | 6800 |  | 4500
2024/10/21 |  | 8900 |  | 1501
2024/10/22 |  | 8150 |  | 16584
2024/10/23 |  | 8800 |  | 12870
2024/10/24 |  | 8670 |  | 12900
2024/10/25 |  | 9000 |  | 14800
2024/10/26 |  | 6700 |  | 17800
2024/10/27 |  | 7100 |  | 19300
2024/10/28 |  | 7520 |  | 19800
2024/10/29 |  | 7010 |  | 19251
2024/10/30 |  | 6800 |  | 19800
2024/10/31 |  | 6850 |  | 19100
2024/11/1 |  | 7810 |  | 18700
2024/11/2 |  | 9870 |  | 17600
2024/11/3 |  | 5150 |  | 17100
2024/11/4 |  | 5250 |  | 14251
2024/11/5 |  | 5100 |  | 14300
2024/11/6 |  | 5600 |  | 12000
2024/11/7 |  | 6200 |  | 9800
2024/11/8 |  | 7000 |  | 12010
2024/11/9 |  | 7150 |  | 13100
2024/11/10 |  | 8170 |  | 14300
2024/11/11 |  | 8250 |  | 13400
2024/11/12 |  | 7151 |  | 16100
2024/11/13 |  | 7161 |  | 16200
2024/11/14 |  | 7100 |  | 16100
2024/11/15 |  | 6050 |  | 16100
2024/11/16 |  | 6100 |  | 14251
2024/11/17 |  | 5151 |  | 17800
2024/11/18 |  | 4200 |  | 17951
2024/11/19 |  | 4181 |  | 18121
2024/11/20 |  | 2010 |  | 19132
2024/11/21 |  | 5205 |  | 15384
2024/11/22 |  | 4100 |  | 15400
2024/11/23 |  | 0 |  | 0
2024/11/24 |  | 0 |  | 0
2024/11/25 |  | 0 |  | 0
2024/11/26 |  | 7800 |  | 8980
2024/11/27 |  | 6850 |  | 12000
2024/11/28 |  | 6880 |  | 17800
2024/11/29 |  | 7600 |  | 17951
2024/11/30 |  | 7551 |  | 16200
2024/12/1 |  | 6580 |  | 16890
2024/12/2 |  | 5151 |  | 16770
2024/12/3 |  | 4252 |  | 19700
2024/12/4 |  | 4850 |  | 18751
2024/12/5 |  | 5900 |  | 18000
2024/12/6 |  | 6255 |  | 16251
2024/12/7 |  | 6200 |  | 16751
2024/12/8 |  | 6100 |  | 16900
2024/12/9 |  | 6800 |  | 12200
2024/12/10 |  | 5800 |  | 12100
2024/12/11 |  | 5010 |  | 11900
2024/12/12 |  | 5000 |  | 10100
2024/12/13 |  | 6880 |  | 0
2024/12/14 |  | 6100 |  | 7900
2024/12/15 |  | 8800 |  | 16890
2024/12/16 |  | 9800 |  | 17200
2024/12/17 |  | 9000 |  | 18100
2024/12/18 |  | 10121 |  | 18200
2024/12/19 |  | 11000 |  | 19870
2024/12/20 |  | 12151 |  | 19771
2024/12/21 |  | 7400 |  | 8990
2024/12/22 |  | 6800 |  | 14870
2024/12/23 |  | 4250 |  | 16900
2024/12/24 |  | 0 |  | 0
2024/12/25 |  | 0 |  | 1889
2024/12/26 |  | 8151 |  | 18900
2024/12/27 |  | 12000 |  | 18951
2024/12/28 |  | 12000 |  | 17151
2024/12/29 |  | 12151 |  | 17100
2024/12/30 |  | 11451 |  | 17451
2024/12/31 |  | 11491 |  | 16200
2025/1/1 |  | 10800 |  | 16300
2025/1/2 |  | 10151 |  | 14200
2025/1/3 |  | 7650 |  | 14351
2025/1/4 |  | 7645 |  | 14442
2025/1/5 |  | 7200 |  | 14044
2025/1/6 |  | 6151 |  | 12000
2025/1/7 |  | 4200 |  | 4200
2025/1/8 |  | 0 |  | 0
2025/1/9 |  | 0 |  | 0
2025/1/10 |  | 1200 |  | 0
2025/1/11 |  | 11800 |  | 16800
2025/1/12 |  | 12151 |  | 16951
2025/1/13 |  | 14051 |  | 16999
2025/1/14 |  | 14200 |  | 17899
2025/1/15 |  | 12151 |  | 18000
2025/1/16 |  | 12000 |  | 18251
2025/1/17 |  | 19800 |  | 18351
2025/1/18 |  | 10900 |  | 17451
2025/1/19 |  | 11110 |  | 17600
2025/1/20 |  | 7800 |  | 13810
2025/1/21 |  | 8000 |  | 13850
2025/1/22 |  | 12151 |  | 12400
2025/1/23 |  | 14000 |  | 14250
2025/1/24 |  | 14151 |  | 14890
2025/1/25 |  | 12200 |  | 15751
2025/1/26 |  | 12351 |  | 16870
2025/1/27 |  | 12451 |  | 19400
2025/1/28 |  | 12100 |  | 22251
2025/1/29 |  | 10956 |  | 22600
2025/1/30 |  | 10900 |  | 22900
2025/1/31 |  | 11000 |  | 22850
2025/2/1 |  | 11151 |  | 24700
2025/2/2 |  | 7400 |  | 28000
2025/2/3 |  | 6400 |  | 29251
2025/2/4 |  | 0 |  | 29899
2025/2/5 |  | 0 |  | 35000
2025/2/6 |  | 0 |  | 8700
2025/2/7 |  | 0 |  | 0
2025/2/8 |  | 0 |  | 0
2025/2/9 |  | 0 |  | 0
2025/2/10 |  | 0 |  | 0
2025/2/11 |  | 4800 |  | 0
2025/2/12 |  | 4251 |  | 14891
2025/2/13 |  | 6800 |  | 14751
2025/2/14 |  | 7951 |  | 12851
2025/2/15 |  | 8000 |  | 12400
2025/2/16 |  | 9151 |  | 12000
2025/2/17 |  | 9100 |  | 12110
2025/2/18 |  | 7651 |  | 10161
2025/2/19 |  | 13151 |  | 19390
2025/2/20 |  | 13651 |  | 18150
2025/2/21 |  | 12900 |  | 18200
2025/2/22 |  | 13951 |  | 17800
2025/2/23 |  | 13100 |  | 17851
2025/2/24 |  | 13256 |  | 20151
2025/2/25 |  | 12800 |  | 20252
2025/2/26 |  | 11751 |  | 22151
2025/2/27 |  | 10951 |  | 21200
2025/2/28 |  | 10900 |  | 20150
2025/3/1 |  | 8700 |  | 16870
2025/3/2 |  | 9656 |  | 16900
2025/3/3 |  | 9800 |  | 17800
2025/3/4 |  | 10000 |  | 18900
2025/3/5 |  | 10100 |  | 19400
2025/3/6 |  | 10251 |  | 19850
2025/3/7 |  | 10300 |  | 22000
2025/3/8 |  | 10400 |  | 23440
2025/3/9 |  | 12151 |  | 24200
2025/3/10 |  | 12200 |  | 23251
2025/3/11 |  | 13400 |  | 22870
2025/3/12 |  | 14151 |  | 21751
2025/3/13 |  | 12151 |  | 21700
2025/3/14 |  | 11800 |  | 19651
2025/3/15 |  | 11890 |  | 18770
2025/3/16 |  | 10251 |  | 16870
2025/3/17 |  | 9870 |  | 16251
2025/3/18 |  | 12100 |  | 15951
2025/3/19 |  | 12200 |  | 15230
2025-03-20 |  | 10890 |  | 14651